## Sheet1
Benton Harbor Water System |  | MI 0600 Benton Harbor WQP
Water Quality Parameter Testing
Date | 2019-07-03 |  |  | WSSN #0600 |  | Benton Harbor Water Department
Field Analyst | Denny Edwards
Laboratory Analyst | Denny and Doug
| Field | Field | Calc | Field | Laboratory | Laboratory | Field | Field | Laboratory | Calc | Laboratory | Calc | Calc
Site | Date and Time | Temp C | Temp F | pH | Chloride | Sulfate | Conductivity | TDS | Calcium | CSMR | TA | LSI MO | LSI AWWA
Raw | 7.3.19 - 1:55 pm | 16.6 | 61.88 | 7.7 | 19 | 18 | 372 | 264 | 37 | 1.0556 | 108 |  | -0.67924
Tap | 7.3.19- 1:59 pm | 16.7 | 62.06 | 7.1 | 23 | 19 | 388 | 275 | 36 | 1.2105 | 102 |  | -1.3156
Abonmarche | 7.3.19- 11:05 am | 20.7 | 69.26 | 8.1 | 21 | 31 | 428 | 281 | 51 | 0.67742 | 101 |  | -0.094747
Cornerstone | 7.3.19-10:30 am | 23.9 | 75.02 | 8.2 | 21.5 | 26 | 393 | 280 | 49 | 0.82692 | 102 |  | 0.056965
BP Station Main and Fair | 7.3.19- 11:35 | 24.4 | 75.92 | 8.4 | 22 | 24 | 393 | 276 | 45 | 0.91667 | 103 |  | 0.23381
May Street Service | 7.3.19- 12:16 | 21.2 | 70.16 | 8 | 21.5 | 25 | 387 | 278 | 42 | 0.86 | 102 |  | -0.26072
City Hall | 7.3.19-10:15 am | 23.2 | 73.76 | 8.3 | 22 | 26 | 380 | 280 | 38 | 0.84615 | 101 |  | 0.030925
Villa Environmental | 7.3.19- 11:26 am | 23.8 | 74.84 | 8.1 | 22.5 | 27 | 391 | 279 | 41 | 0.83333 | 102 |  | -0.12324
Babes Lounge | 7.3.19- 11:15 am | 21.9 | 71.42 | 8.1 | 22 | 28 | 391 | 280 | 38 | 0.78571 | 101 |  | -0.19602
Sunny Spot | 7.3.19- 11:56 am | 21 | 69.8 | 8 | 21.5 | 26 | 399 | 284 | 39 | 0.82692 | 102 |  | -0.29854
Blue Water Thermal | 7.3.19- 11:50 | 28.1 | 82.58 | 8 | 21.5 | 26 | 401 | 281 | 41 | 0.82692 | 101 |  | 0.032653
B&Z Construction | 7.3.19- 12:05 | 22.1 | 71.78 | 8.1 | 21 | 24 | 392 | 276 | 39 | 0.875 | 102 |  | -0.17628

## Sheet2
Benton Harbor Water System
Water Quality Parameter Testing
Date | 2019-06-27 |  | Benton Harbor Water Department
Field Analyst | Denny Edwards
Laboratory Analyst | Denny and Doug
| Field | Laboratory | Laboratory | Calc
Site | Date and Time | Chloride | Sulfate | CSMR | Ratio to Tap water with Complete Treatment and OPP Treatment | February 2019CSMR | Difference May -Feb
Raw | 7.3.19 - 1:55 pm | 19 | 18 | 1.0556
Tap | 7.13.19- 1:59 pm | 23 | 19 | 1.2105
Abonmarche | 7.13.19- 11:05 am | 21 | 31 | 0.67742 | 55.96% | 0.71 | 0.032581
Cornerstone | 7.13.19-10:30 am | 21.5 | 26 | 0.82692 | 68.31% | 0.793 | -0.033923
BP Station Main and Fair | 7.13.19- 11:35 | 22 | 24 | 0.91667 | 75.72% | 0.733 | -0.18367
May Street Service | 7.13.19- 12:16 | 21.5 | 25 | 0.86 | 71.04% | 0.786 | -0.074
City Hall | 7.13.19-10:15 am | 22 | 26 | 0.84615 | 69.9% | 0.828 | -0.018154
Villa Environmental | 7.13.19- 11:26 am | 22.5 | 27 | 0.83333 | 68.84% | 0.694 | -0.13933
Babes Lounge | 7.13.19- 11:15 am | 22 | 28 | 0.78571 | 64.91%
Sunny Spot | 7.13.19- 11:56 am | 21.5 | 26 | 0.82692 | 68.31% | 0.613 | -0.21392
Blue Water Thermal | 7.13.19- 11:50 | 21.5 | 26 | 0.82692 | 68.31% | 0.793 | -0.033923
B&Z Construction | 7.13.19- 12:05 | 21 | 24 | 0.875 | 72.28% | 0.779 | -0.096